System Monitoring, Alarming, Reporting, and Tracking System (SMARTS)

###### Masters Project Proposal

Ronald A. Bueler

CS-701

University of Colorado, Colorado Springs

January 23, 2001

TABLE OF CONTENTS

Introduction	2

Background	3

Problem	4

Design Goals	6

Solution	7

Data Collection and Storage	7

Data Reporting	10

Benefits	11

Responsibilities	12

Activities	13

Product (deliverables)	14

Schedule	15

Committee Members and Signatures	16

# Introduction

The purpose of this project is to develop a network-based monitoring package called SMARTS for Cable & Wireless USA, Inc. Beyond just monitoring, this system should provide alarms, reports, and track approximately 20 computer systems. A comprehensive list of system requirements are described later in the proposal. I plan on using software engineering processes while advancing my hands-on knowledge of software development practices. Furthermore, this project will fulfill graduation requirements for a Masters Degree in Software Systems Engineering at University of Colorado, Colorado Springs (UCCS).

Based on initial analysis and research, the level of effort needed to develop such a system during the short semester will require more than one student. It is therefore proposed, that the project be co-developed by myself and another UCCS Masters Degree student, Joe Hall. Although handled as a joint project, we propose a clear division of responsibilities and effort. Of course, the software architecture we propose was determined jointly during brain storming sessions and open discussion. Following that, both of our proposals will contain a similar description of the system, but from differing viewpoints.  Joe’s viewpoint will be the collection and population of the Oracle database, and my viewpoint will be the extraction and presentation of the data to the end user.  To clearly identify each member’s project areas, a table is also included which identifies each of our unique responsibilities.

The rest of this proposal provides background on the problem domain including a description of the problem, a proposed solution, a list of activities, the project deliverables, and a project schedule.

# Background

The Real Time Systems Division of Cable & Wireless USA (C&W) currently has 20 computer servers that provide a suite of traditional and web-based services including email, calendaring, instant messaging, and directory services for approximately 55,000 employees worldwide. These servers also provide service to a number of businesses, including major banks, airlines, and companies in other various industries.  See table below.

| Host | System | O/S | CPU | Physical Memory | Disk Space | Applications |
| --- | --- | --- | --- | --- | --- | --- |
| pm01sm | DEC 1000A | Tru64 4.0D | 1 | 1GB | 31GB | Customer SMTP Server |
| pm02sm | DEC 1000A | Tru64 4.0D | 1 | 1GB | 31GB | Customer SMTP Server |
| pm03sm | DEC 1000A | Tru64 4.0D | 1 | 1GB | 31GB | Customer SMTP Server |
| pm04sm | DEC 1000A | Tru64 4.0D | 1 | 1GB | 31GB | Customer SMTP Server |
| pm05sm | DEC 1000A | Tru64 4.0D | 1 | 1GB | 31GB | Customer SMTP Server |
| pm06sm | DEC 1000A | Tru64 5.1 | 1 | 1GB | 31GB | Customer SMTP Server |
| wd01wm | Compaq ES40 | Tru64 4.0F | 2 | 1GB | 18GB | Customer Web Mail Server |
| pm01rg | DEC 1000A | Tru64 4.0D | 1 | 1GB | 35GB | Customer Web Mail Server |
| pm02rg | DEC 1000A | Tru64 5.1 | 1 | 1GB | 35GB | SMART Web Server SMART Oracle RDBMS |
| um01ds | Compaq ES40 | Tru64 4.0F | 2 | 2GB | 18GB | Customer Directory Server |
| um02ds | Compaq ES40 | Tru64 4.0F | 2 | 2GB | 18GB | Customer Directory Server |
| um01ms | Compaq ES40 | Tru64 5.0A | 4 | 4GB | 367GB | Customer Message Store |
| um02ms | Compaq ES40 | Tru64 5.0A | 4 | 4GB | 367GB | Customer Message Store |
| um03rl | Compaq DS20 | Tru64 5.0A | 2 | 1GB | 18GB | Development Message Store Instant Messaging Server |
| um04rl | Compaq DS20 | Tru64 5.0A | 2 | 1GB | 36GB | Development Directory Server |
| gm01ms | Compaq ES40 | Tru64 4.0F | 4 | 2GB | 470GB | C&W Employee Message Store |
| gm02ms | Compaq ES40 | Tru64 4.0F | 4 | 2GB | 470GB | C&W Employee Message Store |
| gm01rl | Compaq DS20 | Tru64 4.0F | 1 | 1GB | 18GB | C&W Employee SMTP Server C&W Employee Directory Server |
| gm02rl | Compaq DS20 | Tru64 4.0F | 1 | 1GB | 18GB | C&W Employee SMTP Server C&W Employee Directory Server |
| gm01cs | SUN E460 | Solaris 7 | 1 | 1GB | 18GB | C&W Employee Calendar Server |

During the current calendar year, C&W will be re-hosting approximately 1.2 million European customers on these servers.  In addition, a similar suite of customer servers is projected to be installed in Japan, Hong Kong, and Australia during the 2001-2002 timeframe.

In an effort to provide near real-time statistics for customer service, management, and engineering support groups, C&W has asked us to design and implement a robust system capable of providing the following near real-time information:

- System CPU, disk space, and memory utilization

- Response time for each service

- Number of concurrent connections for each service

- Service availability times

- Application specific data for each service

- Alarm notification and escalation

- Automatic response triggers

# Problem

In the fast-paced, real-time network environments of many businesses today, keeping an eye on network performance, loads, service statistics, and network health is paramount to success. It’s critical for many system administrators and IT specialists to quickly obtain this data without having to resort to many “piece-meal” applications that provide a limited view of data about the overall network or individual hardware components. Moreover, to get a complete understanding of what’s happening, it’s essential to have access to near real-time network statistics, CPU performance, system load, available disk space, memory utilization, etc.

Our review of commercial systems offering similar capabilities shows some shortfalls that helped to inspire CWUSA’s idea for an alternative solution. As our research has shown, the shortfalls with existing systems include one or more of the following: high cost, proprietary databases, difficulty in integrating with existing reporting applications, and lack of flexibility and customization. CWUSA has requested that we develop a “highly custom” system which uniquely solves their requirements.

The table below provides a list of similar systems we have reviewed:

| Product Name | Company Name/Institute | URL |
| --- | --- | --- |
| Topper | Bear Mountain Software | http://www.re-software.com |
| NetHealth | Concord Communications | http://www.concord.com |
| Unicenter | Computer Associates | http://www.computerassociates.com |
| Openview | HP | http://www.openview.hp.com |
| Distributed Monitoring | Tivoli | http://www.tivoli.com |
| Sun Management Center | Sun Microsystems | http://www.sun.com |

Based on CWUSA’s requirements, we compiled a matrix of systems with each product’s capabilities. It should be noted that this information was compiled from data available on the Internet, from personal experience with each system, and product literature. Furthermore, many of these systems also offer “suites” of products that compliment the base system. However, these additional products are often extremely costly, large, and substantially more complex to implement. In our research we have examined the characteristics of each “foundation” product to simplify the comparison. The table below presents this matrix.

| Capabilities | SMARTS | Topper | Concord Nethealth | CA Unicenter | HP Openview | Tivoli Dist Monitoring | Sun Mgmt Center |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cost/Server | $0 | $12,000 | $5,000 | $4,163 | $1,775 | $5,800 | $3,000 |
| Reporting |  |  |  |  |  |  |  |
| - Text | Yes | Yes | Yes | Yes | Yes | Yes | Yes |
| - Graphics | Yes | Yes | Yes | Via export | Yes | Yes | Yes |
| - Web Pages | Yes | Yes | Yes | Via export | Yes | Yes | Yes |
| - Canned Queries | Yes | No | Yes | Yes | Yes | Yes | Yes |
| - Ad Hoc Queries | Yes | No | Yes | Yes | Yes | Yes | Yes |
| Alarming |  |  |  |  |  |  |  |
| - via Web Page | Yes | Yes | Yes | Yes | Yes | Yes | Yes |
| - via Email | Yes | Yes | Yes | Yes | Yes | Yes | Yes |
| - via pager | Yes | Yes | Yes | Yes | Yes | Yes | Yes |
| Monitoring |  |  |  |  |  |  |  |
| - Hardware variables | Yes | No | Yes | Yes | Yes | Yes | Yes |
| - O/S variables | Yes | No | Yes | Yes | Yes | Yes | Yes |
| - Application variables | Yes | No | Yes | Yes | Yes | Yes | Yes |
| - Services | Yes | Yes | No | Yes | Yes | Yes | Yes |
| Data Storage |  |  |  |  |  |  |  |
| - RDBMS | Yes | No | No | No | No | No | No |
| - Propietary DB | No | Yes | Yes | Yes | Yes | Yes | Yes |
| - Data import | Easy | No | Yes | No | No | No | No |
| - Data export | Easy | Yes | Yes | Yes | Yes | Yes | Yes |
| - Ease of modification | Easy | N/A | N/A | N/A | N/A | N/A | N/A |
| - Ease of computations | Easy | N/A | N/A | N/A | N/A | N/A | N/A |
| - Canned Queries | Easy | Yes | Yes | Yes | Yes | Yes | Yes |
| - Ad Hoc Queries | Easy | No | Yes | Yes | Yes | Yes | Yes |
| Auto Escalation Notification | Yes | Yes | No | Yes | Yes | Yes | Yes |
| Auto Response | Yes | No | No | Yes | Yes | Yes | Yes |

# Design Goals

During early brainstorming sessions Joe Hall and I determined several qualitative properties and principles we want to strive towards throughout our development. The table below lists those goals.

| Reasoning | Explanation |
| --- | --- |
| Flexibility | Create a flexible architecture that can easily be expanded or modified as the system evolves |
| Clonable components | Create easily clonable components that allow reuse at new locations with minimal modifications |
| Standards Based | Follow International Engineering Task Force (IETF) Standards Based |
| Non-proprietary solution | Develop an open systems based solution that provides maximum flexibility at minimal cost. |
| Low system utilization | Keep CPU/Mem/Disk utilization equal to or less than 2% |
| Reliable data collection | Data collection should be independent of network connectivity |
| Heavily COTS based | Make maximum use of standard COTS products where appropriate |
| Role-based output | The output should be end-user and role-based (management, customer service, engineer, network ops, etc) |

# Solution

Based on available hardware and software at Cable and Wireless USA, we propose a set of lightweight applications to monitor, alarm, report, and track the health and performance of their network.

## Data Collection and Storage

We have three criteria that will guide our data collection portion of the system. First, the data must be accurate. This is self-evident as there is no reason to collect inaccurate data upon which management will base their financial decisions for future hardware and software purchases. Second, the data collection mechanism must be reliable. All data collection programs will be run on each specific host system when possible. A separate program will periodically read and insert the data into a central Oracle database. Finally, the monitoring sub-system must have a minimal impact on the overall performance of the production computer system it is monitoring. We expect to use less than 2% CPU resources and less than 5 MBs of memory utilization.

The next figure illustrates a high-level architecture of our proposed solution. Looking at the architecture, there are various types of network devices that are to be monitored: eMail Relays, Message Store, Calendar Server, Directory Server, Whitepages Server, and Instant Messaging Servers.

Each system and service provided will be monitored and the data evaluated for alarm conditions. A key requirement is the capability of each data collection process to “intelligently” notify users of alarm conditions. To ensure that alarm conditions will not be impacted by a failed system that is currently being monitored by the SMART system, all alarm notifications will use a separate, non-Cable and Wireless USA network to notify the system administrator via pager. Breaking it down, we’ve determined there are four broad areas to consider monitoring: hardware component variables out of normal range, and operating system process abnormalities, actual service interruption, and application process abnormalities. The next table briefly summaries the breakdown in each of the categories.

| Monitor Category | Data Collected |
| --- | --- |
| Hardware System Variables | CPU Utilization, Disk Space, Memory Utilization, etc |
| Operating System Variables | Zombie Processes, Missing Processes, Run-Away Processes, etc |
| Software Services Provided | SMTP, POP, IMAP, LDAP, HTTP, XML |
| Application Process Variables | Various applications and supporting daemons specific to each service provided, Number of concurrent connections to each service |

In collecting the data, we will be using a combination of methods. Where possible, we will use the tools and capabilities provided by the various Application Developers. We believe this will provide the most accurate information. In addition, it is hoped that future upgrades to the product will not require rewriting the data collector. We plan on using Perl and Java as the development languages for the majority of code we will be writing. We decided to use these platform independent languages since the current hardware environment includes both Compaq and Sun Microsystems hardware. We will also look at using operating system specific tools where appropriate. Finally, we will investigate using Simple Network Management Protocol (SNMP) and Management Information Bases (MIBs) to collect various system data.

The format for the raw data files will be a date-time group (DTG), a host name, the data variable name, and the data value. All data collected will be written immediately to disk to preserve the information in case of a power failure. A separate, generic data-reporting program will run periodically which will read the raw data files, connect to the Oracle database, insert the records in their respective tables, and move the raw data files to a separate directory signifying the data was processed. If for any reason this program is unable to connect to the Oracle database, an alarm will be sent to the system administrator’s pager, no files will be moved, and the data-reporting program will exit gracefully.

## Data Reporting

All data collected will be stored in an Oracle Database on a separate system. As much as possible, I intend to use Oracle provided tools for developing stored and ad-hoc queries. I also plan on using Oracle’s web development along with Seagates’ Crystal Reports to produce web pages that can be viewed from standard web browsers such as Netscape Navigator and Microsoft Internet Explorer.

The outputs of the SMARTS will consist of four major types. First, SMARTS will report any alarming conditions directly to the system administrator’s pager. These pages will contain a brief message with a DTG, the system or service variable affected, and the data triggering value. The system administrator’s pager has a limit of 240 characters. The second major output will be web-based query results by an end user. The information provided will be the most current, near real-time data available. The third major category will be standardized daily reports for the engineering group. These reports will be emailed to the various engineering subscribers and contain daily summaries by hour of the performance and conditions of each of the servers. The fourth and final type of output will be management reports. These reports will contain generalized data such as number of customers, service response times, and overall system utilization that will be utilized for customer sizing of the various systems.

## Benefits

Our approach offers some strengths over existing systems such as automatic response to system faults, automatic notification escalation to other email addresses/pagers, ease of data sharing, ease of data import/export, ease of generating graphs and trending information, email alarms, low system utilization (less than 2% of total CPU/memory/disk space), non-proprietary based components, definable data output and customization based on end-user roles, and reusable software components. The key strength of our proposed system is that it is a customized collection of lightweight applications tailored to CWUSA’s unique needs.

In summary the strengths and benefits of the proposed system include the following:

- Automatic response to system faults

- Automatic notification escalation to other email addresses/pagers

- Ease of data sharing

- Ease of data import/export

- Ease of generating graphs and trending information

- Email/pager based alarms

- Low system utilization

- Non-proprietary based components

- Definable data output and customization based on end-user roles

- Reusable software components

- Low cost

# Responsibilities

To separate the project into two distinct areas of responsibility, the next table describes each member’s primary areas of development.

| Joe Hall | Ron Bueler |
| --- | --- |
| Investigate SNMP, SMTP, LDAP, POP, IMAP protocols | Install and configure Netscape Enterprise Server |
| Design, develop and implement collector agents | Install and configure Perl Graphics Device (GD) Module |
| Install and configure Oracle 8i | Implement report graphics using Perl GD |
| Design, develop and implement monitoring mechanisms | Research & evaluate web-based access to Oracle Database |
| Design, develop and implement alarming mechanisms | Design, develop, and implement web pages |
| Design, develop and implement logging mechanisms | Design, develop, and implement Crystal Reports Interface |
| Design, develop and implement automatic escalation | Design, develop, and implement email based report generation and delivery |
| Design, develop and implement corrective action algorithms | Design & implement a list server for report subscription services |
| Design, develop and implement Oracle Database tables jointly | Design, develop and implement Oracle Database tables jointly |

This table presents a clear delineation of responsibilities. Again, from my perspective I will focus on the extraction and presentation of the data to the end user. Using a suite of products, I will perform data presentation and reporting to the various end users including engineering, customer service, management, and end-users. As CWUSA does not have an HTTP server, they have proposed I install and configure Netscape Enterprise Server. As there are some answered questions related to web-based access to the Oracle database I will have to conduct some research and make a proposal to CWUSA.

# Activities

During our initial brainstorming sessions I came up with a list of activities I’ll have to pursue in order to develop my half of the system.

- Investigate the specifications of Java and HTTP to access Oracle databases and generate web pages.

- Investigate, select, and learn which data is to be presented. Including how the data is to be extracted and presented

- Further analyze the tracking and reporting requirements and develop formal written requirements.

- Determine and plan three phases for the project. The first phase will be a limited implementation of email based text reports that will act as a feasibility study and prototype. The second phase will build on the first phase and include more data items to be monitored and the development of text web pages.  The third and final phase will be the implementation of the web interface to the database and email reports with graphics.

- Design the application using a preliminary design that covers all planned requirements, and two additional designs. The first detailed design will be raw data extraction and text report generation.  The second detailed design will be the generation of text based web pages.  The third and final detailed design will complete SMARTs detailed design and extend it to include webserver population along with the end-user interface and management reports.

- Implement the three detailed designs.

- Test the implementation. Only system-level testing will be documented. Unit and integration testing will be informal. Final testing will be done on the system as a whole including pager-based alarms, end-user interface, and engineering and management reports generation.

- Certainly as the project evolves there might be modifications to my approach. As they occur I intend to approach the committee with the proposed evolution describing justification for the new approach along with the advantages and disadvantages of each.

# Product (deliverables)

- Project plan (this) and initial briefing.

- Progress reports delivered at biweekly meetings and on a web page (http://cs.uccs.edu/~rabueler/project) updated weekly. The web page will provide a means for the viewer to access and download the deliverables. The reports, usually one or two paragraphs, will describe accomplishments, problems, and schedule status.

- Requirements document, Design document, Test plans and Test procedures for each of the three phases of the project. The documents for the second and third phases of the project will be addendums to the Phase I documents.

- Report on SMARTS unique environment, development options, and justification of our development selection.

- Final Report and Demonstration, which includes an evaluation of our work, evaluation of the usefulness of the implementation, and suggested future enhancements.

# Schedule

| Date | Event | Topic |
| --- | --- | --- |
| Jan 23 | Meeting | Initial Proposal Briefing |
| Jan 30 | Web Page Update | Phase I – Requirements Document Due |
| Feb 6 | Meeting | Phase I – Analysis/Design |
| Feb 13 | Web Page Update | Phase I – Code/Test/Evaluation |
| Feb 20 | Meeting | Phase I – Release Due |
| Feb 27 | Web Page Update | Phase II – Requirements Document Due |
| Mar 6 | Meeting | Phase II – Analysis/Design |
| Mar 13 | Web Page Update | Phase II – Code/Test/Evaluation |
| Mar 20 | Meeting | Phase II – Release Due |
| Mar 27 | Web Page Update | Spring Break |
| Apr 3 | Meeting | Phase III – Requirements Document Due |
| Apr 10 | Web Page Update | Phase III – Analysis/Design |
| Apr 17 | Meeting | Phase III – Code/Test/Evaluation |
| Apr 24 | Web Page Update | Phase III – Release Due |
| May 1 | Meeting | Project Self Evaluation/Preparation |
| May 3 | Meeting | Project Presentation |

# Committee Members and Signatures

##### Approved by							Date

__________________________________________	_____________

# Advisor: Dr. William Ayen

__________________________________________	_____________

# Committee Member: Dr. Robert W. Sebesta

__________________________________________	_____________

# Committee member: Dr. Edward Chow